Aerospace Ground Equipment (AGE) Power Generators, Environmental Control Units,

A/E24U-8 Transportable Power Plant

Notes: Turbine Generator 400 Hz; transportable 60/120kw, 400Hz power plant consisting of two fully equipped EMU-3O/E gas turbine generators and associated distribution equipment mounted on a pallet.

Photo

A/E32C-18/23 Environmental control unit (ECU)

Notes: self-contained, provide ventilation, cooling, heating, pressurization, filtering, and dehumidification for electronics and personnel environmental control.

A/E32C-24/25/27: Environmental Control Unit

Notes: Pallet mounted; provide ventilation, cooling, heating, pressurization, filtering, and dehumidification electronics and personnel environmental control.

Bladder, Fuel

EMU-12 Gas Turbine Generator

Notes: 20kw at 400Hz, 3ph, 120/208VAC power, compact skid mounted, portable, self-contained electrical power unit. The generator is driven by a gas turbine engine, enclosed in a lightweight aluminum enclosure. May operate on JP4, JP5, kerosene, or diesel fuel

EMU-30 Generator

H-1 Heater, Gasoline powered Used for general, forced air heating.  Used a gasoline engine to generate the heat and turn the blower fan.

MB-15: Generator

Notes: 150kw, 120VAC, 60Hz

MB-17 Diesel Generator

Notes: 60 Hz

Photo

MB-18 Diesel Generator

Notes: 400 Hz

MB-3 Diesel Powered Generator

MC2A Generator

MEP-003A Diesel Generator

10kW, 50/60 Hertz, AC,

Air-cooled diesel engine driven unit

MEP-004A Diesel Generator

3-phase, 15kW, 50/60 Hertz, AC

MEP-005A Diesel Generator

3-phase, 30kW, 50/60 Hertz, AC

MEP-006A Diesel Generator

3-phase, 60kW, 50/60 Hertz, AC

MEP-007B Diesel Generator

3-phase, 100kW, 50/60 Hertz, AC

MEP-016B Diesel Generator

3kw, 60 Hertz, AC, air-cooled,

MEP-017A Gasoline Generator

5kW, 60 Hertz, AC, air-cooled unit, gasoline engine

MEP-026A Gasoline Generator

3kW unit, output voltage 28VDC

Starting and is normally started manually by using a pull rope.

MJQ-1612 Generator

MJQ-1632 Generator